## Slide 1
Facility checklists
V1.0 March 2026
GTFCC Laboratory capacity assessments
© WHO / Lindsay Mackenzie

## Slide 2: RDT or Laboratory checklist
The RDT and Laboratory checklists are essentially the same, but the RDT checklist has had questions hidden where not appropriate – such as questions on culture.
If a site only performs sample collection, RDT and shipment of samples use the RDT checklist.
If a lab performs any other testing, culture or molecular, use the laboratory checklist.
Tools  Laboratory Capacity Assessment – GTFCC

## Slide 3: GTFCC recommendations
All assessors must be fluent with the GTFCC guidelines and recommendations.
When using these checklists, the gold standard is the GTFCC recommendations. If the laboratory does not meet or exceed the GTFCC guidelines then it must be marked “No” or “Partial” regardless of the laboratory or country SOP’s.
!

## Slide 4: Download the latest checklist version
Tools  Laboratory Capacity Assessment – GTFCC
While you can reopen and continue working on facility file you’ve created, you must start fresh from the template for each new location.
The GTFCC facility checklists are in a “Excel Macro-Enabled Template”, with lots of formula and validations to make completing it as simple as possible for the user.
Before entering your site data, you need to save as a new file –“Excel Macro-Enabled Workbook”.
The original template will stay unchanged and can be used again, whenever needed.
            In the open document go to “file”,
            “Save as”,
            Name your new checklist, we suggest using the site name and date,
            Select the file type – “excel Macro-Enabled Workbook (*.xlsm),
            Click on “save”.

## Slide 5: Download a softcopy
When assessing the facility, it can be easier to use a paper checklist you can print annex 4 and 5 using the above link.
Send copies of the print versions to the facility before arrival.
Have 1 assessor + laboratory staff complete narrative pages while 2nd assessor asks scoring questions.
Transfer the data into the excel after the visit.
Tools  Laboratory Capacity Assessment – GTFCC
!
QUICK TIPS

## Slide 6: Definitions
Macro | A small program inside excel which automates repetitive tasks.
Template | A file type that ensures the original is not modified by accident. In this case the original is a macro enabled excel file.
Worksheet/Tab | Each page inside the excel workbook.
Workbook | The whole collection of worksheets is called the workbook.
Validation | Data used to confirm the accuracy of a statement.
Protected | In excel protected cells can not be edited.
Formula | In excel, any data which starts with a “=“ it can be used mathematically i.e. to Sum totals, or on certain text functions.
Button | An object in a worksheet which when pressed runs a formula or a macro.

## Slide 7: Familiarising yourself with the checklist
Yellow
Scored checklist questions
Black
Information tabs
Blue
Reporting information and aggregated data
Green
Narrative tabs, general information questions, background and essential information

## Slide 8
Background and instructions.
Read this section carefully before starting.
Buttons will take you to further information if needed.
And a different button will return you to the instructions.
INSTRUCTIONS TAB
Macro instructions
Abbreviations
Return to cover

## Slide 9
At the end of the instructions are more buttons.
When all the narrative and scored tabs are completed these buttons will create reports and combine data in the correct format.
If you manually modify the reports or tables then click these buttons again, the manual information will not be saved.
INSTRUCTIONS TAB

## Slide 10
At the end of the workbook there are instructions on how to enable macros so the sheet works correctly.
If you click on the Macros button it will take you to this page.
To return click on the user guide.
MACRO INSTRUCTIONS
Return to cover
Abbreviations
Macro instructions

## Slide 11
At the end of the workbook there are references to help you understand the abbreviations used in the checklist.
If you click on the abbreviations button it will take you to this page.
To return click on the user guide.
ABBREVIATION
Return to cover
Macro instructions
Abbreviations

## Slide 12
Narrative tabs collects information to inform the assessment team about the facility collecting background data, such as number of staff, opening times, equipment lists, testing methods used and available SOPs.
The score tabs and report tabs use information from this section to automate responses.
Failure to fill these sheets in can lead to extra work in the remaining checklist.
NARRATIVE TABS
Attendance
General info
Testing
Technical
Documentation

## Slide 13
Assessors,
Laboratory staff,
Hospital such as management,
Program such as regional leads and people not at the site.
ATTENDANCE
It can help to indicate who completed the checklist section if there is more than one assessor or who you asked questions to at the facility. This was if you have any follow up, you know who to ask.
Status - This completes a section in the laboratory report and must be completed.
Simple list of who was present at the site visit:
!
QUICK TIPS

## Slide 14
GENERAL INFORMATION
All data must be completed. The scoring and reporting sections rely on the information filled in this sheet.
Read the instructions and write the answer in that cell.
Instructions may change based on your previous answers.
Some cells have instructions in grey italic:
If a date is required, you can only enter a date dd/mm/yyyy – 02/10/2020.
Drop down lists – select the best option
How many sites – number only.
Some cells have validations this means you can only enter certain values, examples:
Some cells have conditional formats:
Cells will change colour, red indicates something is missing or incorrect.
Grey indicates you do not have to complete those questions.

## Slide 15
Additional questions are required based on the tests performed.
Sample types and control information must also be filled for each test performed.
Testing data – number of tests must be completed for each test type performed.
TESTING
“Performed by laboratory” must be completed. The scoring section and reporting rely on the information filled in this sheet.

## Slide 16
Follow the dropdown and complete yes or no.
Completing the number available and information about servicing and monitoring provides additional information for the final report.
This can help the program prioritise equipment purchasing or service contracts.
TECHNICAL
Available must be completed.

## Slide 17
The print version of this should be sent to the facility ahead of time.
This lists all the documents assessors will want to see during the visit.
The site having documents ready will reduce the assessment time needed.
DOCUMENTATION
All data must be completed. The reporting section relies on the information filled in this sheet.

## Slide 18
TIPS AND TRICKS
Complete any information you know – address, contact information before going to the facility.
Open the excel and set up a laboratory sheet, saving with the name etc. before going to the facility.
!
QUICK TIPS

## Slide 19
Scoring tabs contain questions with a dropdown for answers.
All answers can be Yes/No but some questions can be Partial or NA (not applicable).
Answers from “Narrative Section” prepopulates some of the scorecard.
Every question must be completed for the final score.
The scores for each question and each section are automatically calculated.
“Notes for assessor” can provide additional background information.
SCORING TABS
Management
Human resources
Facilities and safety
Equipment and inventory
Pre-analytical
Analytical
Post-analytical

## Slide 20
EXAMPLES
M.1 has a single question selecting from a dropdown to be awarded the score.
M.2 has multiple parts to be awarded a score, the assessor needs to answer the questions with a white box.

## Slide 21
EXAMPLES
For single part questions (M.1) colours and score are automatically assigned.
For multiple part questions (M.2) the colours, overall outcome and score are automatically assigned.
Additional prompts to write a comment for No and Partial appear.

## Slide 22
Be specific, give examples i.e.
TIPS AND TRICKS
  “At the time of visit the laboratory was observed to have a total of 5 faulty plug sockets in the reception/molecular rooms and waste room.”
  Take pictures to remind yourself later of what you saw – both the good and the bad.
For every question where you answer No or Partial, add a note which details what you saw to determine the score.
!
QUICK TIPS

## Slide 23
Does the facility have the necessary structure and planning documentation to support its role in the National Cholera Program?
MANAGEMENT
The purpose of this section is to score the documentation within the facility management and quality department. It should be conducted through a paper-based review with the manager or quality officer.
?
The documents must be available and appropriate to score full marks.
Each question is worth 3 marks reflecting the importance of strong management commitment.

## Slide 24
HUMAN RESOURCES
If site has said they do not perform certain tests then questions related to those tests are prefilled and the score is removed from the section total so the % remains consistent.
Example
The purpose of this section is to score the availability and implementation of workforce policy and procedure within the facility. Site staffing should be managed to facilitate optimum testing for cholera.
  Is the workforce sufficient for routine and outbreak workload?
  Are the workforce well trained and competent on use of appropriate cholera tests provided by the site?
?

## Slide 25
FACILITIES AND SAFETY
  Is the facility adequate for the tasks to be performed?
  Is the facility maintained for the performance of testing?
  Does the facility maintain safe working conditions for testing?
The purpose of this section is to review the laboratory facilities and safety procedures to determine adequacy for staff to conduct testing in conformance with best practice.
?

## Slide 26
EQUIPMENT AND INVENTORY
The purpose of this section is to review the equipment and inventory procedure and implementation in the facility for cholera/microbiological testing.
  Is the equipment sufficient for testing needs based on the minimum package of testing for the level of facility?
  Does all equipment function as the manufacturer intended, is maintained and serviced based on manufacturer guidance to ensure optimal testing conditions?
Equipment includes all minimum equipment as well as all other equipment used during cholera testing at the facility.
Equipment includes auxiliary equipment e.g. air-conditioning, computers, connected online system.
?

## Slide 27
EQUIPMENT AND INVENTORY
  Are all reagents and consumables managed to ensure no interruption to testing services?
  Are all materials derived from patient samples inventoried and stored correctly?
?
Inventory covers all minimum testing reagents and consumables including locally made media, as well as materials derived from patient samples such as stool samples, bacterial isolates, extracted DNA and amplicons.

## Slide 28
  Referral in – receiving samples/isolates from a clinical collection site or a lower tier site or
  Referral out - sending samples/isolates from this site to another laboratory for further testing.
  If the narrative section was correctly filled, questions which are not relevant, such as for a laboratory who does not send any sample out, will already be removed.
PRE-ANALYTICAL
The purpose of this section is to review the testing process in the pre-analytical phase. This includes instructions and oversight of sample collection and referral forms, packaging, reception and any sample referral from this site to another.
A facility may receive samples/isolates from other locations and send samples/isolates to other facilities. Both are covered in this section.

## Slide 29
ANALYTICAL
The purpose of this section is to review the testing process performed by the facility.
Are all protocols in place to ensure testing is conducted in a standardised manner that conforms to national and international guidance for cholera testing?
Are all staff trained and competent to perform testing to ensure optimal testing results?
If the narrative section was correctly filled, questions which are not relevant, such as for a laboratory that does not perform sequencing, will already be removed.
?

## Slide 30
POST-ANALYTICAL
The purpose of this section is to review the post-analytical processes and methods followed by the facility.
Are all protocols in place to ensure result reporting is conducted in a standardised manner that conforms to national and international guidance for cholera reporting?
Are all staff trained and competent to perform review, verify and release results?
?

## Slide 31
TIPS AND TRICKS
Check every question has been completed before leaving the site.
Review and tidy up answers before doing the reporting section.
!
QUICK TIPS

## Slide 32
Output tabs contain the final information that will be shared as a report to the facility and scoring totals to be transferred into a “National Checklist”.
Before starting, all assessors should review and ensure all narrative and scoring sections are complete and accurate.
OUTPUTS
Gap analysis
Reporting
Recommendations
National aggregation

## Slide 33
GAP ANALYSIS
Each indicator has attributes that reflect various levels of capacity.
These are identified with scores ranging from “0” (indicating that implementation has not occurred) to “5” (indicating that implementation has occurred, is tested, reviewed, and exercised, and that the facility has a sustainable level of capability for the indicator).
For each indicator, a facility receives a single score based on the current implementation.
The “Scored questions” help the evaluators determine the appropriate score – there is a % provided based on the relevant questions as a guide, but assessors should use their judgement and observations in tandem with this information to assign the stage.

## Slide 34
GAP ANALYSIS
No capacity: Attributes of a capacity are not in place.
0
Very rudimentary capacity: Attributes of a capacity are in development stage, may only only be on paper, or some evidence of implementation without documentation.
1
Limited capacity: Attributes of a capacity are in development stage (implementation has started with some attributes achieved and others commenced).
2
Developed capacity: Attributes of a capacity are in place; however, sustainability has not been ensured (such as through inclusion in the operational plan of the national health sector plan with a secure funding source).
3
Demonstrated capacity: Attributes are in place and sustainable for a few years and can be measured by the inclusion of attributes or IHR core capacities in the national health sector plan and a secure funding source.
4
Sustainable capacity: All attributes are functional and sustainable, and the country is supporting one or more other countries in their implementation. This is the highest level of the achievement of implementation of IHR core capacities.
5
Colour coding

## Slide 35
  Review the report:
  There are warning messages where data has not been accurately completed, review and correct this data in the original tabs
  There are warning messages where assessors must make inputs to the report
Once these are completed, scroll to the bottom of the report and click on the report button to remove all the formula – this can not be undone
REPORT SHEET
Most of the report will automatically fill in when the Narrative, Scored and Gap analysis sections are completed.
Assessors can now make edits and tidy up the language in the report file, but changes in the previous sections will no longer be reflected.

## Slide 36
If you get an error message review the section on enabling Macros.
SETTING UP
Remember we talked about the buttons in the “Cover Sheet”, this is where we use them.
Macro
First we want to unhide the remaining sheets now we are ready to use them;
Click on the “Unhide Report Sheets” button.

## Slide 37
RECOMMENDATIONS
For every question which was not scored “YES” or “NA” the assessor needs to write a non-conformity (NC) and short recommendation on how to resolve the observed issue.
This is very time consuming; we have provided example NC and recommendations for you to review and modify as needed.
Click on the “Create Recommendations Table” button.
Go to the “Recommendations” tab, a table should be populated.
Review all the NC and recommendations, there is warning text showing you where data must be added.
Once manual edits have been done, DO NOT click on the create table again, it will overwrite all manual edits

## Slide 38
Colours and stage are linked to the gap analysis data.
Cells with mandatory modifications have red text.
You can edit any of the text to make it better reflect the facility you visited.
EXAMPLE RECOMENDATIONS
!

## Slide 39
TIPS FOR WRITING
Non-conformities
Use action words to define tasks
Be concise but include specifics where needed for clear guidance
Recommendations
Refer to your comments in the scoring sheet
Give recommendations the laboratory can resolve and take action to improve
Be specific
Give examples
!
QUICK TIPS

## Slide 40
FINAL FACILITY REPORTS
Every facility should be given an individual report within 1 week of the final visit.
Sending the entire excel file could be confusing to the facilities, as well as being a very heavy file to send and download over email.
This button which will convert the report pages into PDF files which can be easily shared.
Ensure the Report and Recommendation tabs are final, all spelling, grammar, colour and formats are correct.
Click on the “Create PDF reports” button.
Reports can be found in a folder on your desktop called “GTFCC LCA LABORATORY REPORTING”.
Open the reports, review the contents before sharing.

## Slide 41
EXAMPLE REPORTS

## Slide 42
NATIONAL AGGREGATION
The data collected at all the different facilities needs to be compiled by the team and assessment leads.
This can be very time consuming; we have provided a method to automatically collect the data needed for National reporting in one sheet.
Click on the “Create Aggregate National Data” button,
Go to the “National level verification” tab, several table should be populated,
These are cut and pasted into the National sheets in the correct tabs.

## Slide 43
EXAMPLE NATIONAL DATA

## Slide 44: GTFCC support materials
https://www.gtfcc.org/training/sample-collection-and-testing-with-rapid-diagnostic-tests-for-cholera-for-health-care-workers/
https://www.gtfcc.org/cholera-app/
https://www.gtfcc.org/page-resources/guidelines-technical-documents/

## Slide 45
THANK YOU!